## Sheet1
Date | Peak Load (MW) | Peak Load Hour | Wind @ Peak Load (MW) | Max Wind Output (MW) | Max Wind Time | Penetration @ Max Wind (%) | Max Penetration (%) | Max Penetration Time | Wind @ Max Penetration (MW) | All-Time Max Wind Output (MW) | All-Time Max Output Time | All-Time Max Wind Penetration (%) | All-Time Max Penetration Time | Wind @ Record Penetration (MW) | Notes | Source File
2015-01-01 | 45758 | 19 | 227 | 872 | 0:00 | 2.19 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | Forecast data from ERCOT EMS. All times in CST. | ERCOT Wind Integration Report 01-01-15.PDF
2015-01-02 | 44366 | 19 | 210 | 861 | 23:46 | 2.32 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-02-15.PDF
2015-01-03 | 39710 | 10 | 934 | 5012 | 23:59 | 14.18 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-03-15.PDF
2015-01-04 | 44767 | 21 | 2020 | 6239 | 4:43 | 17.64 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-04-15.PDF
2015-01-05 | 52230 | 8 | 4473 | 8794 | 20:37 | 19.22 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-05-15.PDF
2015-01-06 | 48040 | 8 | 3400 | 7479 | 0:00 | 19.16 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-06-15.PDF
2015-01-07 | 51343 | 21 | 5349 | 9743 | 15:10 | 23.93 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-07-15.PDF
2015-01-08 | 56751 | 8 | 3826 | 5599 | 19:17 | 10.86 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-08-15.PDF
2015-01-09 | 52316 | 19 | 2870 | 7634 | 7:20 | 15.16 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-09-15.PDF
2015-01-10 | 50161 | 19 | 4515 | 5522 | 21:00 | 11.39 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-10-15.PDF
2015-01-11 | 45092 | 10 | 2047 | 5010 | 0:19 | 11.84 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-11-15.PNG
2015-01-12 | 48388 | 19 | 3031 | 7344 | 8:04 | 16.36 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-12-15.PNG
2015-01-13 | 49872 | 19 | 599 | 2481 | 0:28 | 6.3 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-13-15.PNG
2015-01-14 | 49729 | 19 | 686 | 1117 | 23:59 | 2.78 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-14-15.PNG
2015-01-15 | 48694 | 8 | 2795 | 3058 | 8:24 | 6.48 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 01-15-15.PNG
2015-01-16 | 49423 | 8 | 1417 | 9264 | 23:28 | 26.33 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | Wind Record and Max Wind Value are instantaneous; other values are hourly integrated. | N/A
2015-01-17 | 39795 | 9 | 8187 | 9238 | 0:16 | 26.96 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | Wind Record and Max Wind Value are instantaneous; other values are hourly integrated. | N/A
2015-01-18 | 36651 | 9 | 6277 | 8083 | 21:58 | 24.38 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-18-15
2015-01-19 | 39918 | 8 | 3797 | 7488 | 0:03 | 24.73 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-19-15
2015-01-20 | 39637 | 8 | 2954 | 8228 | 20:51 | 23.24 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-20-15
2015-01-21 | 38668 | 19 | 5536 | 6394 | 0:00 | 22.32 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-21-15
2015-01-22 | 46650 | 19 | 6059 | 9127 | 5:09 | 28.65 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-22-15
2015-01-23 | 45600 | 8 | 2818 | 6217 | 23:32 | 15.56 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-23-15
2015-01-25 | 37365 | 9 | 6508 | 7796 | 2:27 | 23.92 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-25-15
2015-01-26 | 42823 | 8 | 4332 | 4515 | 7:40 | 10.58 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-26-15
2015-01-27 | 39349 | 8 | 1563 | 5258 | 23:58 | 18.84 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-27-15
2015-01-28 | 37057 | 8 | 5890 | 6561 | 5:53 | 20.18 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-28-15
2015-01-29 | 36308 | 20 | 5722 | 8637 | 10:40 | 25.4 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-29-15
2015-01-30 | 37574 | 8 | 2441 | 4006 | 0:00 | 13.98 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-30-15
2015-01-31 | 36376 | 11 | 4952 | 5890 | 14:03 | 17.26 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | ERCOT Wind Integration Report 01-31-15
2015-02-01 | 35710 | 22 | 6922 | 8464 | 12:33 | 26.05 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-02 | 47618 | 8 | 1940 | 7189 | 0:00 | 21.99 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-03 | 45935 | 8 | 6069 | 8663 | 21:46 | 20.56 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-04 | 43820 | 8 | 5233 | 8626 | 20:15 | 21.74 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-05 | 47248 | 20 | 1358 | 6452 | 0:00 | 19.29 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-06 | 45605 | 8 | 5615 | 8754 | 21:01 | 22.92 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-07 | 38080 | 9 | 7127 | 9173 | 20:46 | 28.02 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-08 | 34492 | 20 | 1353 | 9158 | 2:18 | 33.68 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-09 | 36612 | 20 | 5143 | 8643 | 23:23 | 29.87 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-10 | 35958 | 20 | 6061 | 8590 | 1:30 | 32.82 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-11 | 36059 | 20 | 9308 | 10398 | 17:02 | 30.65 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-12 | 37881 | 8 | 3622 | 7038 | 0:01 | 24.45 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-13 | 40849 | 8 | 4481 | 5215 | 4:29 | 16.17 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-14 | 33555 | 9 | 2298 | 8756 | 23:24 | 30.98 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-15 | 33982 | 20 | 8465 | 10033 | 22:55 | 33.64 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-16 | 47285 | 20 | 2867 | 9337 | 0:00 | 33.47 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-17 | 49041 | 8 | 1579 | 2970 | 0:24 | 7.54 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-18 | 48233 | 8 | 2778 | 5164 | 23:35 | 15.42 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-02-19 | 44579 | 8 | 6877 | 11154 | 22:52 | 34.2 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-02-20 | 35968 | 8 | 8871 | 10801 | 0:34 | 36.32 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-02-21 | 34118 | 20 | 4097 | 8818 | 0:45 | 32.73 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-02-22 | 42982 | 20 | 4258 | 9280 | 12:17 | 25.59 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-02-23 | 54499 | 20 | 844 | 3208 | 2:55 | 8.67 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-02-24 | 51850 | 8 | 751 | 980 | 14:33 | 2.14 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-02-25 | 49015 | 8 | 3684 | 5368 | 23:59 | 14.45 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-02-26 | 48270 | 8 | 9547 | 9652 | 7:41 | 20.11 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-02-27 | 52199 | 20 | 1323 | 5806 | 0:26 | 13.9 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-02-28 | 49215 | 11 | 820 | 1184 | 0:00 | 2.64 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-01 | 44207 | 20 | 600 | 724 | 23:20 | 1.89 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-02 | 46196 | 8 | 391 | 2129 | 23:59 | 5.92 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-03 | 41616 | 8 | 4285 | 5523 | 4:03 | 16.19 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-04 | 47119 | 20 | 5101 | 8660 | 11:22 | 22.51 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-05 | 51207 | 8 | 3550 | 5097 | 0:00 | 12.46 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-06 | 53105 | 7 | 4856 | 6309 | 23:55 | 16.82 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-07 | 41577 | 8 | 2730 | 6739 | 23:59 | 22.02 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-08 | 37613 | 21 | 1859 | 6786 | 0:04 | 22.26 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-09 | 38494 | 12 | 1025 | 2146 | 0:32 | 6.96 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-10 | 36785 | 8 | 1095 | 2196 | 23:23 | 7.12 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-11 | 36463 | 8 | 1400 | 3402 | 22:39 | 10.42 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-12 | 36259 | 8 | 1375 | 3073 | 0:10 | 10.45 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-13 | 34317 | 11 | 754 | 3405 | 13:50 | 10.11 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-14 | 32582 | 21 | 2418 | 7543 | 14:08 | 24.05 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-15 | 33298 | 21 | 1251 | 2853 | 23:59 | 10.5 | N/A | N/A | N/A | 10957 | 2014-12-25 | N/A | N/A | N/A | N/A
2015-03-16 | 35752 | 21 | 4370 | 7083 | 23:30 | 24.03 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-17 | 37558 | 21 | 2875 | 6966 | 0:00 | 24.54 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-18 | 36177 | 21 | 1859 | 5051 | 23:54 | 17.37 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-19 | 37057 | 21 | 3949 | 5841 | 23:59 | 19.89 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-20 | 36178 | 14 | 1915 | 6319 | 3:29 | 24.31 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-21 | 33352 | 12 | 864 | 1342 | 17:46 | 4.28 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-22 | 34487 | 21 | 1025 | 4600 | 23:59 | 16.89 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-23 | 37782 | 21 | 6258 | 9412 | 23:57 | 32.84 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-24 | 39646 | 18 | 1445 | 9733 | 2:08 | 37.74 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-25 | 40094 | 17 | 6855 | 9560 | 23:59 | 31.6 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-26 | 35100 | 21 | 1325 | 10189 | 1:00 | 36.04 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-27 | 35294 | 8 | 4780 | 6689 | 23:57 | 23.93 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-28 | 34516 | 21 | 6432 | 9304 | 23:57 | 32.39 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-29 | 37865 | 21 | 8527 | 10318 | 2:10 | 40.58 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-30 | 39831 | 21 | 3706 | 7636 | 23:57 | 25.11 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-03-31 | 41925 | 17 | 3159 | 8262 | 1:45 | 30.24 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-01 | 40185 | 21 | 8209 | 10430 | 23:48 | 32.72 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-02 | 44831 | 18 | 8732 | 10409 | 0:34 | 34.64 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-03 | 39389 | 17 | 8695 | 10810 | 10:07 | 29.78 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-04 | 32826 | 21 | 3529 | 6043 | 1:43 | 22.18 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-05 | 33781 | 21 | 7617 | 9257 | 23:44 | 32.45 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-06 | 41619 | 18 | 8919 | 10152 | 2:36 | 39.29 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-07 | 45141 | 17 | 4252 | 9706 | 2:02 | 33.8 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-08 | 41632 | 17 | 8712 | 10669 | 18:21 | 26.11 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-09 | 45263 | 17 | 3303 | 10585 | 3:46 | 36.92 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-10 | 35028 | 17 | 1873 | 7697 | 1:18 | 25.66 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-11 | 35114 | 21 | 7348 | 8945 | 23:55 | 29.74 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-12 | 38754 | 21 | 6937 | 9638 | 1:21 | 34.71 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-13 | 42483 | 17 | 8314 | 8492 | 17:01 | 19.95 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-14 | 37130 | 21 | 663 | 6500 | 0:08 | 20.75 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-15 | 40005 | 18 | 4563 | 9389 | 23:49 | 30.01 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-16 | 40755 | 16 | 5077 | 9398 | 0:11 | 30.94 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-17 | 39282 | 15 | 3563 | 6907 | 0:06 | 22.74 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-18 | 37661 | 17 | 4063 | 5176 | 18:07 | 13.95 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-19 | 40824 | 18 | 7350 | 7963 | 16:18 | 19.63 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-20 | 36288 | 21 | 4154 | 7694 | 23:57 | 27.27 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-21 | 38184 | 21 | 4026 | 8795 | 23:55 | 29.24 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-22 | 40688 | 17 | 2758 | 8865 | 0:09 | 30.08 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-23 | 44543 | 17 | 4344 | 7387 | 21:25 | 17.57 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-24 | 42239 | 16 | 5217 | 7684 | 23:39 | 22.48 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-25 | 44988 | 18 | 5039 | 8410 | 2:26 | 28.44 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-26 | 43806 | 17 | 5334 | 9174 | 21:57 | 22.89 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-27 | 41491 | 17 | 5708 | 7774 | 19:55 | 19.62 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-28 | 35055 | 14 | 7357 | 9199 | 7:45 | 27.98 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-29 | 36347 | 21 | 295 | 3267 | 6:22 | 10.37 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-04-30 | 41024 | 18 | 895 | 7010 | 23:58 | 23.44 | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A
2015-05-01 | 42237 | 17 | 1796 | 7660 | 23:59 | N/A | 24.87 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-02 | 41272 | 18 | 5327 | 9247 | 23:58 | N/A | 30.52 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-03 | 41707 | 18 | 8409 | 9509 | 1:05 | N/A | 33.29 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-04 | 45419 | 17 | 9359 | 10547 | 18:07 | N/A | 23.73 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-05 | 42974 | 17 | 7462 | 9526 | 1:24 | N/A | 32.37 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-06 | 46992 | 18 | 10101 | 10323 | 18:16 | N/A | 22.31 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-07 | 46577 | 17 | 7171 | 9422 | 0:20 | N/A | 27.7 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-08 | 47384 | 17 | 8233 | 8425 | 16:42 | N/A | 17.78 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-09 | 45846 | 17 | 4793 | 8184 | 0:48 | N/A | 23.94 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-10 | 41863 | 17 | 2124 | 6215 | 23:11 | N/A | 16.92 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-11 | 40751 | 18 | 3256 | 8093 | 9:10 | N/A | 21.41 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-12 | 38237 | 21 | 2625 | 4923 | 0:30 | N/A | 16.5 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-13 | 38653 | 17 | 5885 | 7269 | 23:26 | N/A | 22.61 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-14 | 45698 | 17 | 5705 | 8056 | 21:24 | N/A | 19.06 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-15 | 41315 | 14 | 6740 | 9951 | 22:25 | N/A | 26.48 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-16 | 46919 | 18 | 8677 | 9157 | 0:11 | N/A | 27.98 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-17 | 41915 | 21 | 1952 | 4747 | 1:55 | N/A | 14.39 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-18 | 53330 | 17 | 4268 | 7732 | 22:00 | N/A | 17.17 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-19 | 49262 | 18 | 5811 | 9331 | 10:21 | N/A | 22.2 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-20 | 51356 | 17 | 6500 | 8608 | 0:15 | N/A | 24.04 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-21 | 38916 | 15 | 3210 | 6357 | 8:24 | N/A | 17.63 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-22 | 40467 | 17 | 2981 | 7220 | 23:57 | N/A | 21.54 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-23 | 41954 | 14 | 10552 | 10729 | 13:46 | N/A | 25.5 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-24 | 40152 | 19 | 4786 | 8997 | 23:59 | N/A | 27.03 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-25 | 43194 | 15 | 3536 | 9335 | 0:26 | N/A | 28.97 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-26 | 48245 | 17 | 4342 | 6715 | 6:12 | N/A | 21.45 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-27 | 51658 | 17 | 4780 | 8340 | 23:44 | N/A | 22.05 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-28 | 53019 | 17 | 5814 | 8690 | 0:44 | N/A | 24.85 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-29 | 49485 | 18 | 811 | 6378 | 1:56 | N/A | 19.84 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-30 | 45435 | 16 | 2038 | 7697 | 2:05 | N/A | 24.02 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-05-31 | 45325 | 18 | 601 | 4295 | 23:59 | N/A | 13.14 | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | Wind Record 02/19/15 | N/A
2015-06-01 | 51956 | 18 | 3897 | 7377 | 22:53 | 18.31 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-01-15.PDF
2015-06-02 | 54549 | 17 | 6023 | 8432 | 23:12 | 20.87 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-02-15.PDF
2015-06-03 | 56075 | 17 | 6636 | 9537 | 23:32 | 23.75 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-03-15.PDF
2015-06-04 | 57204 | 17 | 6455 | 9713 | 1:11 | 27.82 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-04-15.PDF
2015-06-05 | 56970 | 17 | 4999 | 8352 | 0:04 | 21.48 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-05-15.PDF
2015-06-06 | 55322 | 17 | 2829 | 8271 | 11:26 | 22.92 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-06-15.PDF
2015-06-07 | 55656 | 18 | 3094 | 6906 | 0:27 | 18.16 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-07-15.PDF
2015-06-08 | 60489 | 17 | 891 | 4953 | 0:30 | 13.1 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-08-15.PDF
2015-06-09 | 60031 | 16 | 646 | 3854 | 23:59 | 9.25 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-09-15.PDF
2015-06-10 | 61745 | 17 | 3316 | 8926 | 23:59 | 20.7 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-10-15.PDF
2015-06-11 | 60787 | 17 | 6071 | 10947 | 23:57 | 25.06 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-11-15.PDF
2015-06-12 | 59292 | 16 | 7201 | 11090 | 0:50 | 27.04 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-12-15.PDF
2015-06-13 | 53653 | 17 | 5118 | 8528 | 23:22 | 20.01 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-13-15.PDF
2015-06-14 | 50782 | 17 | 3398 | 8266 | 0:05 | 20.52 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-14-15.PDF
2015-06-15 | 55308 | 17 | 1197 | 6109 | 0:01 | 15.86 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-15-15.PDF
2015-06-16 | 47313 | 17 | 2212 | 3180 | 21:36 | 7.23 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-16-15.PDF
2015-06-17 | 48224 | 17 | 2559 | 2923 | 15:21 | 6.08 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-17-15.PDF
2015-06-18 | 54661 | 17 | 1230 | 3912 | 23:45 | 9.58 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-18-15.PDF
2015-06-19 | 55983 | 17 | 3300 | 8109 | 23:57 | 19.84 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-19-15.PDF
2015-06-20 | 48875 | 16 | 7568 | 8891 | 12:45 | 18.59 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-20-15.PDF
2015-06-21 | 47519 | 15 | 5424 | 8274 | 22:14 | 19.16 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-21-15.PDF
2015-06-22 | 57319 | 17 | 9241 | 9414 | 16:20 | 16.39 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-22-15.PDF
2015-06-23 | 59558 | 17 | 5899 | 6627 | 0:13 | 16.36 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-23-15.PDF
2015-06-24 | 61432 | 17 | 4445 | 6419 | 1:45 | 17.28 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-24-15.PDF
2015-06-25 | 61578 | 17 | 2973 | 7805 | 23:59 | 17.76 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-25-15.PDF
2015-06-26 | 60482 | 16 | 2078 | 8577 | 2:23 | 22.6 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-26-15.PDF
2015-06-27 | 54239 | 17 | 3029 | 3142 | 16:33 | 5.78 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-27-15.PDF
2015-06-28 | 53308 | 17 | 1201 | 5818 | 23:55 | 14.7 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-28-15.PDF
2015-06-29 | 60105 | 17 | 2377 | 6344 | 1:19 | 17.6 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-29-15.PDF
2015-06-30 | 56890 | 15 | 1088 | 6544 | 2:42 | 17.89 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 06-30-15.PDF
2015-07-01 | 53773 | 16 | 5237 | 7710 | 23:58 | 19.67 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-01-15.PDF
2015-07-02 | 57505 | 17 | 3295 | 8031 | 0:25 | 21.28 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-02-15.PDF
2015-07-03 | 54510 | 17 | 2329 | 5125 | 2:44 | 14.22 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-03-15.PDF
2015-07-04 | 54755 | 16 | 3845 | 6768 | 23:59 | 16.22 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-04-15.PDF
2015-07-05 | 56405 | 18 | 6674 | 9934 | 23:54 | 22.87 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-05-15.PDF
2015-07-06 | 59930 | 17 | 7841 | 10115 | 1:10 | 25.11 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-06-15.PDF
2015-07-07 | 57189 | 16 | 3615 | 5221 | 1:26 | 13.03 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-07-15.PDF
2015-07-08 | 55242 | 17 | 3078 | 7287 | 23:17 | 16.4 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-08-15.PDF
2015-07-09 | 61132 | 17 | 7790 | 8736 | 18:15 | 14.68 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-09-15.PDF
2015-07-10 | 61174 | 17 | 7018 | 8395 | 2:02 | 22.36 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-10-15.PDF
2015-07-11 | 58805 | 17 | 4324 | 8823 | 23:53 | 20.19 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-11-15.PDF
2015-07-12 | 60501 | 18 | 3690 | 9492 | 2:29 | 25.36 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-12-15.PDF
2015-07-13 | 64922 | 17 | 2902 | 8702 | 1:40 | 21.86 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-13-15.PDF
2015-07-14 | 65134 | 17 | 3687 | 9058 | 1:06 | 21.57 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-14-15.PDF
2015-07-15 | 64558 | 17 | 4469 | 8233 | 2:13 | 21.08 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-15-15.PDF
2015-07-16 | 64374 | 17 | 2412 | 9160 | 23:59 | 19.97 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-16-15.PDF
2015-07-17 | 64041 | 17 | 5208 | 10162 | 23:58 | 21.8 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-17-15.PDF
2015-07-18 | 62932 | 17 | 4629 | 10666 | 2:11 | 26.02 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-18-15.PDF
2015-07-19 | 62937 | 18 | 4553 | 10215 | 0:16 | 22.41 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-19-15.PDF
2015-07-20 | 66172 | 17 | 2453 | 8006 | 0:34 | 18.1 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-20-15.PDF
2015-07-21 | 65252 | 17 | 2330 | 6862 | 0:40 | 15.4 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-21-15.PDF
2015-07-22 | 65992 | 17 | 3434 | 9242 | 23:58 | 19.72 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-22-15.PDF
2015-07-23 | 66101 | 17 | 3427 | 9306 | 1:04 | 21.44 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-23-15.PDF
2015-07-24 | 66027 | 17 | 2974 | 8444 | 2:20 | 20.49 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-24-15.PDF
2015-07-25 | 63794 | 17 | 2494 | 8072 | 23:58 | 17.26 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-25-15.PDF
2015-07-26 | 64650 | 18 | 2874 | 8220 | 23:11 | 16.18 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-26-15.PDF
2015-07-27 | 66674 | 17 | 4811 | 8998 | 23:58 | 18.96 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-27-15.PDF
2015-07-28 | 66829 | 17 | 2762 | 9057 | 0:17 | 19.57 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-28-15.PDF
2015-07-29 | 67585 | 17 | 2003 | 7344 | 0:00 | 15.27 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-29-15.PDF
2015-07-30 | 67630 | 17 | 1126 | 4288 | 1:33 | 10.08 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-30-15.PDF
2015-07-31 | 66252 | 16 | 727 | 5734 | 21:23 | 10.47 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 07-31-15.PDF
2015-08-01 | 60903 | 17 | 2163 | 3429 | 20:07 | 6.24 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-01-15.PDF
2015-08-02 | 61871 | 18 | 2261 | 5299 | 23:57 | 12.06 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-02-15.PDF
2015-08-03 | 66234 | 17 | 2829 | 6764 | 23:25 | 13.92 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-03-15.PDF
2015-08-04 | 65690 | 17 | 2758 | 10062 | 23:57 | 23.47 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-05 | 68456 | 17 | 2501 | 8731 | 1:55 | 20.46 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-06 | 68909 | 17 | 3418 | 9322 | 23:59 | 19.05 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-07 | 68693 | 17 | 4596 | 9636 | 0:30 | 20.4 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-08 | 66602 | 17 | 5372 | 10075 | 0:58 | 21.99 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-09 | 66352 | 18 | 2991 | 10062 | 0:22 | 21.22 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-10 | 69785 | 17 | 2242 | 8608 | 0:29 | 18.66 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-11 | 69625 | 16 | 1066 | 4961 | 22:54 | 9.55 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-12 | 68408 | 17 | 1879 | 4534 | 0:00 | 9.55 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-13 | 67710 | 17 | 845 | 6195 | 23:55 | 13.05 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-13-15.PDF
2015-08-14 | 66027 | 16 | 2117 | 6524 | 0:40 | 14.52 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-14-15.PDF
2015-08-15 | 60758 | 17 | 1832 | 5413 | 23:54 | 12.37 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-15-15.PDF
2015-08-16 | 60632 | 17 | 1782 | 6318 | 23:59 | 14.84 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-16-15.PDF
2015-08-17 | 64406 | 17 | 1939 | 8259 | 23:51 | 18.1 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-18 | 65287 | 17 | 3783 | 10231 | 23:59 | 21.75 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-19 | 58083 | 16 | 9113 | 10854 | 0:43 | 24.12 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-20 | 43447 | 14 | 1002 | 6233 | 23:59 | 17.46 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-21 | 57095 | 17 | 5519 | 7479 | 22:15 | 16.05 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-22 | 60289 | 17 | 4539 | 9961 | 23:35 | 21.63 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT
2015-08-23 | 62399 | 17 | 5714 | 9856 | 0:07 | 22.19 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-23-15.PDF
2015-08-24 | 65933 | 17 | 1210 | 3308 | 3:49 | 8.85 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-24-15.PDF
2015-08-25 | 58520 | 14 | 412 | 6032 | 22:03 | 12.48 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-25-15.PDF
2015-08-26 | 61809 | 17 | 939 | 4495 | 23:59 | 11.12 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-26-15.PDF
2015-08-27 | 61966 | 17 | 1885 | 8336 | 23:59 | 20.58 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-27-15.PDF
2015-08-28 | 61460 | 17 | 2449 | 8661 | 1:10 | 23.21 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-28-15.PDF
2015-08-29 | 57119 | 17 | 1789 | 4870 | 1:22 | 12.81 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-29-15.PDF
2015-08-30 | 56252 | 17 | 1138 | 7001 | 23:58 | 17.67 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-30-15.PDF
2015-08-31 | 58885 | 17 | 3469 | 7992 | 23:42 | 19.19 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 08-31-15.PDF
2015-09-01 | 57098 | 17 | 2875 | 8454 | 2:54 | 23.77 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-01-15.PDF
2015-09-02 | 59907 | 17 | 2495 | 7464 | 23:57 | 18.15 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-02-15.PDF
2015-09-03 | 60764 | 17 | 2639 | 7477 | 0:05 | 18.45 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-03-15.PDF
2015-09-04 | 60746 | 17 | 2745 | 7594 | 0:19 | 18.3 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-04-15.PDF
2015-09-05 | 56908 | 17 | 3534 | 7649 | 2:15 | 19.69 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-05-15.PDF
2015-09-06 | 61097 | 17 | 2240 | 7532 | 2:59 | 20.34 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-06-15.PDF
2015-09-07 | 62692 | 17 | 2175 | 6103 | 3:51 | 16.38 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-07-15.PDF
2015-09-08 | 64424 | 17 | 1903 | 6422 | 1:54 | 16.22 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-08-15.PDF
2015-09-09 | 54610 | 17 | 2562 | 4130 | 1:04 | 9.89 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-09-15.PDF
2015-09-10 | 57264 | 16 | 1766 | 5519 | 22:29 | 12.31 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-10-15.PDF
2015-09-11 | 53700 | 16 | 4798 | 5681 | 17:09 | 10.87 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-11-15.PDF
2015-09-12 | 49542 | 17 | 1381 | 8674 | 23:57 | 25.18 | N/A | N/A | N/A | N/A | N/A | 11154 | 2015-02-19 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-12-15.PDF
2015-09-13 | 49586 | 18 | 8921 | 11467 | 22:56 | 29.96 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-13-15.PDF
2015-09-14 | 53436 | 17 | 7205 | 11351 | 0:00 | 32.66 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-14-15.PDF
2015-09-15 | 56129 | 17 | 6460 | 10284 | 23:49 | 25.44 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-15-15.PDF
2015-09-16 | 58244 | 17 | 7749 | 10425 | 22:01 | 21.6 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-16-15.PDF
2015-09-17 | 60711 | 17 | 5930 | 10452 | 23:49 | 24.88 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-17-15.PDF
2015-09-18 | 61147 | 17 | 3679 | 10389 | 0:17 | 25.65 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-18-15.PDF
2015-09-19 | 53515 | 17 | 1487 | 7170 | 0:00 | 17.37 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-19-15.PDF
2015-09-20 | 51629 | 16 | 1428 | 5084 | 23:58 | 13.97 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-20-15.PDF
2015-09-21 | 59313 | 17 | 3203 | 7355 | 23:54 | 18.64 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-21-15.PDF
2015-09-22 | 59893 | 17 | 5914 | 8592 | 23:57 | 21.89 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-22-15.PDF
2015-09-23 | 57902 | 17 | 3824 | 8744 | 0:08 | 22.54 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-23-15.PDF
2015-09-24 | 56024 | 17 | 840 | 6695 | 0:01 | 18.56 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-24-15.PDF
2015-09-25 | 54744 | 16 | 939 | 1891 | 23:41 | 4.99 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-25-15.PDF
2015-09-26 | 51925 | 16 | 2026 | 3175 | 20:59 | 7.24 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-26-15.PDF
2015-09-27 | 47275 | 17 | 568 | 6400 | 23:59 | 18.75 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-27-15.PDF
2015-09-28 | 50471 | 17 | 534 | 6622 | 0:50 | 20.58 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-28-15.PDF
2015-09-29 | 55093 | 17 | 1136 | 5517 | 0:07 | 15.83 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-29-15.PDF
2015-09-30 | 57657 | 17 | 1170 | 4518 | 23:04 | 11.17 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 09-30-15.PDF
2015-10-01 | 52652 | 17 | 952 | 6753 | 23:32 | 18.3 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-01-15.PDF
2015-10-02 | 46481 | 17 | 3174 | 6643 | 0:02 | 18.81 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-02-15.PDF
2015-10-03 | 42093 | 17 | 2921 | 6780 | 23:20 | 21.06 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-03-15.PDF
2015-10-04 | 42821 | 18 | 850 | 6453 | 0:04 | 21.12 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-04-15.PDF
2015-10-05 | 45855 | 17 | 1277 | 2668 | 21:32 | 6.64 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-05-15.PDF
2015-10-06 | 49886 | 17 | 895 | 6277 | 23:57 | 18.89 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-06-15.PDF
2015-10-07 | 51897 | 17 | 2933 | 7111 | 22:33 | 17.6 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-07-15.PDF
2015-10-08 | 51213 | 17 | 2147 | 6138 | 0:01 | 17.6 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-08-15.PDF
2015-10-09 | 48680 | 16 | 3529 | 4411 | 14:28 | 9.16 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-09-15.PDF
2015-10-10 | 47587 | 17 | 1854 | 6033 | 23:59 | 18.23 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-10-15.PDF
2015-10-11 | 52084 | 17 | 6170 | 9094 | 23:16 | 23.29 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-11-15.PDF
2015-10-12 | 59148 | 17 | 9015 | 9885 | 13:14 | 18.36 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-12-15.PDF
2015-10-13 | 53670 | 17 | 886 | 4408 | 0:00 | 11.55 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-13-15.PDF
2015-10-14 | 54013 | 17 | 3134 | 9749 | 23:57 | 28.35 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-14-15.PDF
2015-10-15 | 53980 | 17 | 3662 | 10379 | 1:11 | 32.82 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-15-15.PDF
2015-10-16 | 49451 | 17 | 3620 | 9601 | 0:02 | 27.68 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-16-15.PDF
2015-10-17 | 41313 | 17 | 4911 | 9198 | 23:29 | 29.19 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-17-15.PDF
2015-10-18 | 39166 | 18 | 8798 | 10542 | 23:37 | 35.21 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-18-15.PDF
2015-10-19 | 42500 | 17 | 8367 | 11227 | 23:22 | 35.23 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-19-15.PDF
2015-10-20 | 44359 | 17 | 7391 | 10975 | 0:00 | 36.16 | N/A | N/A | N/A | N/A | N/A | 11467 | 2015-09-13 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-20-15.PDF
2015-10-21 | 47647 | 17 | 8278 | 11950 | 23:53 | 33.98 | N/A | N/A | N/A | N/A | N/A | 11950 | 2015-10-21 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-21-15.PDF
2015-10-22 | 44231 | 17 | 3498 | 12238 | 0:48 | 36.83 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-22-15.PDF
2015-10-23 | 43370 | 16 | 2159 | 4723 | 22:26 | 12.33 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-23-15.PDF
2015-10-24 | 36961 | 12 | 8808 | 9837 | 5:24 | 32.14 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-24-15.PDF
2015-10-25 | 34003 | 20 | 3910 | 7752 | 8:31 | 27.13 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-25-15.PDF
2015-10-26 | 37719 | 20 | 1878 | 4520 | 0:09 | 16.93 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-26-15.PDF
2015-10-27 | 40791 | 17 | 4121 | 5711 | 23:59 | 19.4 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-27-15.PDF
2015-10-28 | 40984 | 16 | 904 | 10121 | 5:41 | 34.8 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-28-15.PDF
2015-10-29 | 40323 | 17 | 4317 | 8316 | 22:34 | 23.83 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-29-15.PDF
2015-10-30 | 38590 | 15 | 3313 | 7233 | 0:00 | 23.36 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-30-15.PDF
2015-10-31 | 36072 | 14 | 2744 | 5003 | 5:43 | 17.35 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 10-31-15.PDF
2015-11-01 | 35882 | 19 | 1095 | 3946 | 23:26 | 14.16 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-01-15.PDF
2015-11-02 | 39169 | 19 | 5820 | 10487 | 23:36 | 36.2 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-02-15.PDF
2015-11-03 | 39892 | 19 | 8833 | 11481 | 21:15 | 31.46 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-03-15.PDF
2015-11-04 | 41231 | 19 | 10910 | 12015 | 21:06 | 31.03 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-04-15.PDF
2015-11-05 | 45006 | 19 | 8462 | 11043 | 0:00 | 35.41 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-05-15.PDF
2015-11-06 | 39098 | 15 | 1571 | 6588 | 0:25 | 20.77 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-06-15.PDF
2015-11-07 | 33772 | 19 | 4919 | 8531 | 12:50 | 25.73 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-07-15.PDF
2015-11-08 | 34726 | 19 | 2600 | 5069 | 23:56 | 18.66 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-08-15.PDF
2015-11-09 | 37517 | 19 | 6932 | 9272 | 22:23 | 28.93 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-09-15.PDF
2015-11-10 | 39370 | 19 | 9030 | 11603 | 22:38 | 34.26 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-10-15.PDF
2015-11-11 | 43785 | 15 | 11038 | 11567 | 13:30 | 26.55 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-11-15.PDF
2015-11-12 | 36479 | 19 | 2413 | 4259 | 23:22 | 14.67 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-12-15.PDF
2015-11-13 | 34565 | 19 | 4358 | 7648 | 23:19 | 26.19 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-13-15.PDF
2015-11-14 | 33970 | 19 | 7120 | 9153 | 22:45 | 30.42 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-14-15.PDF
2015-11-15 | 35838 | 19 | 9721 | 10578 | 20:14 | 30.19 | N/A | N/A | N/A | N/A | N/A | 12238 | 2015-10-22 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-15-15.PDF
2015-11-16 | 41062 | 19 | 12403 | 12641 | 21:36 | 33.14 | N/A | N/A | N/A | N/A | N/A | 12641 | 2015-11-16 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-16-15.PDF
2015-11-17 | 37028 | 11 | 11711 | 11948 | 12:06 | 33.33 | N/A | N/A | N/A | N/A | N/A | 12641 | 2015-11-16 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-17-15.PDF
2015-11-18 | 36666 | 19 | 3872 | 7421 | 12:41 | 21.52 | N/A | N/A | N/A | N/A | N/A | 12641 | 2015-11-16 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-18-15.PDF
2015-11-19 | 37076 | 19 | 1943 | 8506 | 5:35 | 28.12 | N/A | N/A | N/A | N/A | N/A | 12641 | 2015-11-16 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-19-15.PDF
2015-11-20 | 35930 | 19 | 6492 | 9638 | 21:04 | 28.33 | N/A | N/A | N/A | N/A | N/A | 12641 | 2015-11-16 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-20-15.PDF
2015-11-21 | 35456 | 19 | 3646 | 11594 | 10:18 | 33.84 | N/A | N/A | N/A | N/A | N/A | 12641 | 2015-11-16 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-21-15.PDF
2015-11-22 | 36377 | 21 | 2802 | 5525 | 8:15 | 15.36 | N/A | N/A | N/A | N/A | N/A | 12641 | 2015-11-16 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-22-15.PDF
2015-11-23 | 40755 | 8 | 3811 | 10638 | 22:14 | 30.75 | N/A | N/A | N/A | N/A | N/A | 12641 | 2015-11-16 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-23-15.PDF
2015-11-24 | 36647 | 19 | 11448 | 12590 | 20:56 | 35.9 | N/A | N/A | N/A | N/A | N/A | 12641 | 2015-11-16 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-24-15.PDF
2015-11-25 | 37225 | 19 | 11550 | 12971 | 21:10 | 36.86 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-25-15.PDF
2015-11-26 | 36806 | 12 | 10600 | 12318 | 0:02 | 41.25 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-26-15.PDF
2015-11-27 | 38934 | 19 | 3426 | 9086 | 3:24 | 34.12 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-27-15.PDF
2015-11-28 | 40091 | 19 | 946 | 1841 | 11:38 | 4.74 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-28-15.PDF
2015-11-29 | 40475 | 19 | 345 | 787 | 5:27 | 2.44 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-29-15.PDF
2015-11-30 | 40541 | 19 | 855 | 1617 | 11:48 | 4.28 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT Wind Integration Report 11-30-15.PDF
2015-12-01 | 40134 | 20 | 1608 | 2038 | 20:48 | 5.13 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT
2015-12-02 | 40912 | 8 | 3843 | 4041 | 7:19 | 9.78 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT
2015-12-03 | 42629 | 8 | 3307 | 9218 | 23:21 | 26.87 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT
2015-12-04 | 42517 | 8 | 7559 | 11188 | 22:20 | 30.94 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT
2015-12-05 | 38751 | 9 | 9196 | 11305 | 4:05 | 33.9 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT
2015-12-06 | 36093 | 20 | 751 | 8054 | 0:00 | 25.32 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT
2015-12-07 | 39924 | 8 | 5340 | 9185 | 23:05 | 28.25 | N/A | N/A | N/A | N/A | N/A | 12971 | 2015-11-25 | N/A | N/A | N/A | N/A | ERCOT
2015-12-08 | 38600 | 8 | 9116 | 9544 | 3:10 | 32.64 | 32.66 | 3:11 | 9537 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-09 | 38023 | 19 | 6977 | 10232 | 23:19 | 32.9 | 33.45 | 23:51 | 10000 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-10 | 38338 | 19 | 2294 | 10644 | 0:30 | 36.77 | 36.92 | 0:34 | 10613 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-11 | 38739 | 19 | 7101 | 12393 | 22:38 | 36.07 | 38.41 | 23:54 | 12023 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-12 | 38087 | 19 | 11294 | 12482 | 21:29 | 34.35 | 40.76 | 2:55 | 11280 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-13 | 37058 | 20 | 7801 | 10571 | 14:07 | 32.35 | 32.35 | 14:07 | 10571 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-14 | 38823 | 8 | 8069 | 12941 | 22:05 | 37.36 | 38.4 | 23:43 | 11731 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-15 | 38603 | 19 | 6577 | 11437 | 0:00 | 38.04 | 39.5 | 1:19 | 11206 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-16 | 39062 | 21 | 2694 | 6454 | 0:16 | 21.8 | 21.8 | 0:16 | 6454 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-17 | 42634 | 8 | 4648 | 9695 | 14:05 | 28.03 | 28.05 | 14:18 | 9652 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-18 | 44274 | 8 | 3870 | 11534 | 20:25 | 29.15 | 30.79 | 23:54 | 11126 | 12971 | 2015-11-25 | 36.86 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-19 | 39982 | 9 | 9921 | 13029 | 20:45 | 36.45 | 39.53 | 23:48 | 12698 | 13029 | 2015-12-19 | 36.45 | 2015-11-26 | 11649 | N/A | ERCOT
2015-12-20 | 35775 | 19 | 12163 | 13883 | 11:07 | 41.27 | 44.71 | 3:05 | 13057 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-21 | 37622 | 19 | 1656 | 7926 | 0:00 | 27.45 | 27.45 | 0:00 | 7926 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-22 | 37876 | 19 | 11435 | 12632 | 19:47 | 33.75 | 40.31 | 23:57 | 12364 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-23 | 37788 | 19 | 3233 | 12340 | 6:45 | 39.12 | 42.43 | 2:00 | 11732 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-24 | 36977 | 19 | 4636 | 7891 | 1:29 | 28.93 | 29.26 | 3:15 | 7680 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-25 | 35028 | 19 | 7693 | 12434 | 22:28 | 37.99 | 39.18 | 23:15 | 12321 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-26 | 38222 | 19 | 12213 | 12568 | 17:44 | 33.15 | 38.73 | 0:09 | 11561 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-27 | 39965 | 19 | 5785 | 11328 | 0:30 | 37.07 | 37.56 | 2:05 | 10813 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-28 | 44892 | 19 | 709 | 6577 | 4:06 | 18.97 | 19.62 | 2:00 | 6565 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-29 | 43198 | 8 | 3018 | 3256 | 8:33 | 7.53 | 7.55 | 8:46 | 3248 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-30 | 40339 | 9 | 1497 | 2376 | 1:41 | 7.08 | 7.09 | 1:43 | 2374 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT
2015-12-31 | 40522 | 9 | 1197 | 5128 | 20:44 | 13.56 | 13.56 | 20:44 | 5127 | 13883 | 2015-12-20 | 41.27 | 2015-12-20 | 13057 | N/A | ERCOT